## Regular provision
Reference | Indicator | Data required | Target
18.1 of CSAM & 25.1 of CACM | Average simultaneous availability (DA and ID) of costly and non-costly remedial actions in both operational planning and capacity calculation (i.e. average number of hours during which a given RA is available in both operational planning and capacity calculation, averaged over all RAs) per CCR and across CCRs. | Each RA availability in D-2 CC, D-1 OP, D-1 CC, ID OP and ID CC on hourly basis | Assess whether the Ras are consistently available in all congestion management stages
18.1 of CSAM & 25.1 of CACM | Average availability of costly and non-costly remedial actions in operational planning only (i.e. average number of hours during which a given RA is available in operational planning (DA and ID) but not in capacity calculation (D-2 CC, D-1 CC, ID CC), averaged over all RAs) | Each RA availability in D-2 CC, D-1 OP, D-1 CC, ID OP and ID CC on hourly basis | Assess whether the Ras are consistently available in all congestion management stages

## One-off information
Reference | Indicator/Data | Target
3.2 of CSAM | Share of network elements which are cross-border influenced (i.e. for which at least one element in another TSO area has influence above the filtering influence threshold) | Assessing the (in)dependency between control areas
4-1 of CSAM | Which TSO (and how often) conducts dynamic studies, and which restrictions does it lead to | Assessing how dynamic constraints constrain operational security (and possibly indirectly cross-border capacity)
5-1&20 of CSAM | Per TSO: Voltage levels and their location in the grid (transmission/distirbution network) considered in TSO's observabilty area used in any stage of coordinated security assessment | Assessing the TSOs approaches towards definition of their observability areas and the involvement of DSOs
5.7 of CSAM | Per TSO : list of discarded network elements and frequency of such occurrence | Assessing whether the thresholds value are well defined, assessing completeness of the network security assessment
6.1&20 of CSAM | Per TSO: Number of external contingencies at voltage levels below 220kV considered in any stage of coordinated security assessment | Assessing possibility of TSOs freeriding in managing security of HV networks and the involvement of DSOs
6.2 of CSAM | Per TSO : Power flow identification, power flow filtering and voltage influence thresholds | Assessing robustness and consistency of threshold values
6.6 of CSAM | Per TSO : How often is the list of external contingencies updated, relative number of external contingencies vs. internal contingencies | Assessing whether a TSO closely cooperates with neighbours on external contingencies Assessing the (in)dependency between control areas
9.1 of CSAM | Per RSC: Number of exceptional contingencies for which joint TSOs agreements have been established | Assessing the effect on the harmonisation of applicable rules
10.4 of CSAM | Per TSO: Share of excluded contingencies and their location in the grid (vs. total number of contingencies) | Assessing how often and in which situations contingencies may lead to constraints
12.1 of CSAM | Per SA/RSC: List of agreements on cross-control area consequences | How often N-1 issues are managed through cross-control area agreements
14.1 of CSAM | Share of remedial actions and their location in the grid with cross-border impact | Assessing the (in)dependency between control areas Infer the added value of a regional optimisation Assessing the level of TSO/DSO coordination
19.1 of CSAM | Average shortest time required for preventive remedial action activation | Compare time required for activation to market gate closure time, to see whether they are compatible (or to update market gate closure time if more flexiblity is provided)
22.3 of CSAM | List (and short description) of scenarios used | Assessing completeness and robustness of scenarios used for outage coordination
23.1 of CSAM | Frequency of load and RES forecast update | Assessing how often the TSO adapts its forecast (to limit require margin levels)
24.1 of CSAM | Per TSO : number of ID SA performed | Assessing how often TSOs are able to conduct such analysis,m to adapt to changing situations
26.2 of CSAM | Per RSC : average number of hours per day during which the RSC has capability for coordination with other RSCs | Potential for improved coordination between RSCs
27.2 of CSAM | RAs deemed cross-RSC impacting vs all potential cross-RSC impacting RAs, Quantity above which quantifyable RAs become cross-RSC impacting | Determine the share of cross-RSC impacting remedial actions. May be interesting within the scope of the redispatching/countertrading methodlogies (assessing the need to split or need remedial actions among RSCs/CCRs)
30.3 of CSAM | Per TSO: a list of costly RAs that are not offered to all CCRs of the concerned TSO | Checking whether there is level playing field for CCRs
30.3 of CSAM | Per TSO: a list of costly RAs that are not offered to all RSCs of the concerned TSO | Checking whether there is level playing field for RSCs
38.3 of CSAM | Per TSO : MW/C gradient | Cross-checking with adequacy assessments
41.2.b of CSAM | Per TSO: List of data quality criterias and assessments | Assessing how much data quality issues impede the good functioning of CSA
Article 34.1 of SO GL | Per TSO: Number and description of exceptional contingencies | Assessing the effect on the harmonisation of applicable rules