Framework Guidelines

On Electricity Grid Connections

Draft for Consultation

DFGC-2011-E-001

3 March 2011

This Document contains the draft Framework Guidelines on Electricity Connections, which the Agency for the Cooperation of Energy Regulators (ACER) is preparing pursuant to Article 6 of Regulation (EC) No 713/2009 and on the basis of a request from the European Commission. The draft Framework Guidelines contained in this document are issued for consultation of ENTSO for Electricity and other relevant stakeholders, who are invited to submit their comments by: 2 May 2011 To participate in this public consultation, please request a login via the online login request.

Related Documents

CEER/ERGEG documents

- “Pilot Framework Guidelines on Electricity Grid Connections”, 7 December 2010, Ref: E10-ENM-18-04.

- “ERGEG Public Consultation on the Draft Pilot Framework Guidelines on Electricity Grid Connection – Evaluation of Responses,” 7 December 2010, Ref: E10-ENM-18-04a, http://www.energy-regulators.eu/portal/page/portal/EER_HOME/EER_CONSULT/CLOSED%20PUBLIC%20CONSULTATIONS/ELECTRICITY/Pilot%20Framework%20Guideline%20Electricity%20Grid%20Connection/CD/E10-ENM-18-04a_EGC-FG_EoR_7-Dec-2010.pdf

- “ERGEG Guidelines of Good Practice on Electricity Grid Connection and Access“, ERGEG, 10 December March 2009, Ref. E09-ENM-16-04, http://www.energy-regulators.eu/portal/page/portal/EER_HOME/EER_CONSULT/CLOSED%20PUBLIC%20CONSULTATIONS/ELECTRICITY/GGP%20Electricity%20Grid%20connection%20%20Access/CD/E09-ENM-16-04_GGP-GridConnection_10-Dec-09.pdf

- “Implementing the 3rd Package: next steps”, CEER/ERGEG, 18 June 2009, Ref. C09-GA-52-06a, http://www.energy-regulators.eu/portal/page/portal/EER_HOME/EER_PUBLICATIONS/CEER_ERGEG_PAPERS/Cross-Sectoral/2009/C09-GA-52-06a_Imlementing_3rdpackage_18-Jun-09.pdf

External Documents

- Directive 2009/72/EC of the European Parliament and of the Council of 13 July 2009 concerning common rules for the internal market in electricity and repealing Directive 2003/54/EC. http://eur-lex.europa.eu/LexUriServ/LexUriServ.do?uri=OJ:L:2009:211:0055:0093:EN:PDF

- Regulation (EC) No 713/2009 of the European Parliament and of the Council of 13 July 2009 establishing an Agency for the Cooperation of Energy Regulators. http://eur-lex.europa.eu/LexUriServ/LexUriServ.do?uri=OJ:L:2009:211:0001:0014:EN:PDF

- Regulation (EC) No 714/2009 of the European Parliament and of the Council of 13 July 2009 on conditions for access to the network for cross-border exchanges in electricity and repealing Regulation (EC) No 1228/2003. http://eur-lex.europa.eu/LexUriServ/LexUri Serv.do?uri=OJ:L:2009:211:0015:0035:EN:PDF

Table of Contents

1	General Provisions	2

1.1	Scope	2

1.2	Application	2

1.3	Definitions	2

2	Minimum standards and requirements for connections	2

2.1	Standards and requirements applicable to all users	2

2.2	Connection of/to distribution networks	2

2.3	Derogations	2

2.4	Adaptation of existing arrangements to the network code	2

2.5	Special requirements for critical grid situations	2

2.6	Connection regime for specific grid users	2

2.7	Compliance monitoring and enforcement	2

3	Promoting (real-time and other) exchange of information between parties and improved coordination	2

3.1	General information	2

3.2	Real-time information sharing	2

3.3	Specific provisions for information and communication between TSOs and DSOs	2

4	Additional provisions to be addressed within the scope of system operation	2

# General Provisions

## Scope

These Framework Guidelines aim at setting out clear and objective principles for the development of network codes pursuant to Article 6(2) of Regulation (EC) No 714/2009 (the “Electricity Regulation”).

The network code(s) adopted according to these Framework Guidelines will be applied by electricity Transmission System Operators (TSOs), taking into account possible public service obligations and without prejudice to the regulatory regime for cross-border issues pursuant to Article 42 of Directive 2009/72/EC and of the responsibilities and powers of regulatory authorities established according to Article 41(6) of Directive 2009/72/EC.

The network code(s) adopted will be evaluated by ACER, taking into account their degree of compliance with the Framework Guidelines and the fulfilment of the objectives: maintaining security of supply, supporting the completion and functioning of the internal market in electricity and cross-border trade, including delivering benefits to the customers and facilitating the Union’s targets for penetration of renewable generation.

## Application

The Guidelines apply to grid connections for all types of grid users (generators, consumers and Distribution System Operators (DSOs)).

## Definitions

Within the context of these Framework Guidelines, the terms ‘network’ or ‘grid’ refer to both transmission and distribution. Moreover, the following definitions apply:

- Grid Users – all users connected to the transmission and distribution grids – generation (all technologies), demand (including responsive demand) and DSOs (as grid users connected to the transmission grid or to another distribution network).

- System Operators – including the TSO and the DSO, in their roles and responsibilities to implement and enforce the relevant grid connection code(s).

- Commissioning – the process of verification that new users’ installations comply with the specifications and requirements provided for grid connection before starting operation of these installations. The verification should include, inter alia, the revision of documentation, the verification of the requested capabilities of the new facility by practical tests and simulation studies and the revision of actual measurements during trial operation.

- Compliance Monitoring – the process of verifying the capabilities of grid users during normal operation and, after relevant modifications, of confirming that the technical capabilities are maintained.

- Significant Users – users connected to the network which are defined as significant in the network code(s) on the basis of their impact on the network.

Due to the close interrelationship between a number of issues related to grid connections and system operation, the following criteria have been applied in deciding whether a specific issue is dealt with in these Framework Guidelines or in the Framework Guidelines on System Operation:

- issues involving the active participation by grid users are addressed in these Framework Guidelines;

- issues affecting only System Operators, with no role for grid users, are addressed in the Framework Guidelines on System Operation.

- issues which are relevant both to grid connections and system operation, are as a minimum mentioned in both Framework Guidelines and, where necessary, also specified in more detail. Some redundancy might emerge from this approach, but priority has been given to avoiding any important aspects being omitted.

# Minimum standards and requirements for connections

## Standards and requirements applicable to all users

The network code(s) shall define appropriate minimum standards and requirements applicable to all grid users, including those already connected to the grid. Whereas Framework Guidelines and the related network code(s) prevail over the relevant international technical standards and regulations, they shall not waive the obligations established by such standards and regulations.

The minimum standards and requirements shall be defined for each type of grid user (i.e. conventional, distributed or intermittent generation, demand response users, or DSOs) and shall take into account the voltage level at which the grid user is connected to the grid. Where a particular class, technology, size or location of a grid user is not deemed significant in terms of impact on the system, a procedure shall be defined within the network code(s), according to which a derogation from the minimum standards may be granted.

The applicability of the minimum standards and requirements to users already connected to the grid shall be defined on the basis of the results of a quantitative analysis of the impact - in terms of both cost/benefit and organisational aspects - of the standards and requirements on these grid users. The analysis should also consider the possibility of applying the standards and requirements to users already connected to the grid only at the end of a transition period which, if considered appropriate, shall be defined in the network code(s). Where the net benefits are not clear or are marginal, the minimum standards and requirements shall not apply to existing users.

The network code(s) shall also specify the criteria for the definition of significant users, based on a predefined set of parameters which measure the degree of impact of these users on the system. The network code(s) should also provide that the definitions of significant users be coordinated between adjacent TSOs.

When referring to DSOs, the network codes shall be specific on whether the distribution grids and DSOs are considered in their capacity as connected users of the transmission grid or in their capacity as System Operators.

The network code(s) shall define the physical connection point between the grid user’s equipment and the network to which they apply. Furthermore, the network code(s) shall define the requirements in relation to the relevant system parameters in order to contribute to secure system operation of grid users, including:

- Frequency and voltage parameters;

- Requirements for reactive power;

- Load-frequency control related issues;

- Short-circuit current;

- Requirements for protection devices;

- Fault ride through capability; and

- Balancing capabilities and provision of ancillary services.

The network code(s) shall also contain all the necessary provisions applicable to grid users that are connected to distribution networks, but that also affect the transmission network, because, for example, they feed energy up to the transmission grid or, given their operation mode and fuel type, they significantly influence the need for reserve capacity. These provisions shall be agreed between the TSO and the concerned DSO.

The network code(s) shall also set out how the TSOs (and, where applicable, also involving the DSOs) define the technical requirements related to frequency and active power control and to voltage and reactive power management. Technical rules set at the synchronous system level for operational security shall be in line with these requirements. Those rules shall be aligned as far as technically possible throughout the European Union, irrespective of synchronous area borders.

## Connection of/to distribution networks

The network code(s) shall set out necessary requirements and procedures to be followed by DSOs when connecting distributed generation to the grid.

The network code(s) shall set out that requirements and equipment for the connection point between the networks of transmission and the distribution system must be defined at an appropriate level of detail, specifying also if any additional provisions are foreseen e.g. in the relevant national grid connection code. The network code(s) shall also specify where these requirements shall be defined if they are not already covered by the network code(s).

The DSO shall be assigned responsibility for transposing the requirements set by the TSO (or DSO) and ensuring that generation and consumption units (and any other connected distribution networks) within the distribution network meet these requirements.

The network code(s) shall specify a requirement on DSOs to execute (manually or automatically, depending on the purpose) the instructions given by the TSO. The TSO and the DSO shall agree how these instructions are delivered in practice. This applies also for those DSOs connected to another DSO network.

## Derogations

The network code(s) should specify the criteria for granting derogations to the standards and requirements. TSOs shall maintain a register in which derogations are recorded, together with the reasons for their granting and the consequences. The relevant National Regulatory Authorities and the Agency regularly monitor the granting of derogations. They can revoke derogations which are granted without justification or in contrast with the specified criteria.

## Adaptation of existing arrangements to the network code

System Operators shall amend all relevant clauses in contracts and/or relevant clauses in general terms and conditions relating to the connection of grid users to the electricity grid, in accordance with the terms of the network code(s). The relevant clauses shall be amended within a fixed time limit after entry into force of the network code(s), defined in the network code(s), but not exceeding three years. This requirement shall apply regardless of whether the relevant contracts or general terms and conditions provide for such an amendment. The detailed technical provisions for the transition from the national to the European network codes shall be further elaborated on in the respective codes.

To ensure a smooth transition to EU-wide harmonisation, a gradual approach may be pursued in the adaptation of the existing arrangements and the application of the new provisions to those grid users who are already connected.

The network code(s) shall define the transition period within which grid users have to apply the new standards and requirements. The transition period must be consulted upon among relevant stakeholders. Different transition periods for compliance can be set for newly connected users and for users already connected to the network and also for different standards and requirements. The network code(s) shall specify the principles behind setting the transition periods for grid users; System Operators will be responsible for evaluating the applicability to grid users and determining an appropriate transition period.

## Special requirements for critical grid situations

The network code(s) shall define:

- situations in general (e.g. which kinds of network faults, which electrical distance)

and

- possible deviations of significant parameters (e.g. voltage, frequency) in detail

that generation units must withstand, while remaining connected to the grid. Different definitions may apply to different types of generation units.

The network code(s) must also define minimum conditions for (re)connection to the grid in disturbed/critical operating state.

The network code(s) shall set out how generation units must be able to execute their control activities in normal and in alert (disturbed) operating states, whereas specific parameters for operation outside these operating states will be agreed individually between generation units and System Operators.

Coordination requirements and procedures for reconnection after tripping must be defined transparently in the network code(s) for the different parties involved, including especially their different roles and responsibilities.

For the following services, the network code(s) shall set out the minimum requirements for those generators providing them on a contractually agreed basis:

- House load operation including the minimum duration of house load operation;

- Black start; and

- Island operation.

## Connection regime for specific grid users

Where additional requirements beyond those defined in the minimum standards and requirements are mandated for a particular class, technology, size or location of grid users, the network code(s) shall set out and justify these additional requirements.

Where the technical conditions justify it, the network code(s) shall foresee special provisions concerning protection device setting for the large intermittent generation (e.g. wind, photovoltaic).

Where specific electrical or geographical conditions so require, additional national provisions could be defined beyond the provisions in the respective network code(s) for connection of wind generation. ENTSO-E shall ensure, in cooperation with the national TSO(s), compatibility of such national provisions with the EU-wide Framework Guidelines and network codes.

The network code(s) shall set out necessary requirements for protection schemes and in relation to Fault-Ride-Through capability with particular focus on distributed generation – because of its increasing importance and contribution to meeting demand - that shall aim at avoiding that a disturbance in the transmission grid leads to a tripping of distributed generation units.

The network code(s) shall set out necessary requirements and procedures to be followed when connecting a consumption unit to the grid, to enable demand response and / or participation of consumption units in other grid services, on a contractually-agreed basis. The responsibility for the compliance of the equipment with the requirements set by the TSO and/or DSO shall be clearly with the consumption unit.

## Compliance monitoring and enforcement

The network code(s) shall define clear and transparent criteria and methods for compliance monitoring, including the requirements for regular testing.

In particular, the network code(s) shall introduce an obligation for generation units to test their compliance with the standards and requirements defined for the connecting installation, including electrical safety.

The specifications and requirements for the new generation units must be verified before commissioning of grid connection. TSOs and DSOs must define transparently the contents of the verification within the appropriate scope.

The network code(s) may define the possibility of repeated verification upon request from TSO and/or DSO after commissioning.

The network code(s) shall specify which measures from the actual operation of connected installations should be used to verify compliance with the applicable minimum standards and requirements.

The network code(s) shall provide for regular monitoring of the alignment of European and national codes and provide for corrective measures if any discrepancies are detected.

The network code(s) shall always require the System Operators to optimise between the highest overall efficiency and lowest total cost for all involved stakeholders. In that respect, it must be ensured, within the requirements of the network code(s), that, whatever the cost-sharing scheme is, the cost split follows the principles of non-discrimination, maximum transparency and assignment to the real originator of the costs.

# Promoting (real-time and other) exchange of information between parties and improved coordination

## General information

The network code(s) shall set out the procedures and requirements to coordinate and ensure information sharing between:

- TSO and TSO;

- TSO and DSO; and

- TSO or DSO and significant generation and consumption units.

These procedures and requirements shall be defined in accordance and agreement of all affected parties.

The network code(s) shall define a harmonised standard according to which information shall be provided for grid connection at the connection point by TSO and DSO. Similarly, the network code(s) shall define what information and technical data every significant generation unit or consumption unit has to provide to the TSO or DSO to which it is connected and how this data is to be provided to ensure the operational security of the system.

The network code(s) shall contain provisions committing TSOs and DSOs to publish and transparently communicate the detailed procedure for the initiation of new connection, including inter alia required documents, timing, methodologies, responsibilities, etc. This information shall also address the relevant grid access issues, which will be dealt with in more detail in the future grid access framework guidelines.

Information exchange between TSOs and DSOs about the commissioning of significant generation and consumption units must be framed on a European basis, through the coordination of the definition of significant users.

## Real-time information sharing

Information exchange provisions contained in network code(s) shall include sufficiently detailed specifications for an efficient coordinated system with access to real-time information.

The network code(s) shall set the requirement for every significant generation and consumption unit to be able and obliged to provide the necessary real-time operational information to the affected DSOs and TSOs to whose grid they are directly or indirectly connected (i.e. through the distribution grid).

The network code(s) shall set the requirement for every significant generation or consumption unit to be able to receive and to execute the instructions sent by the TSO and/or DSO, on a contractual basis or in critical operating state.

## Specific provisions for information and communication between TSOs and DSOs

The network code(s) shall define the requirements for the interface between TSOs and DSOs, such as:

- voltage parameters; and

- reactive power flow;

taking into account the situation with regard to distributed generation.

The network code(s) shall set out that the TSOs of a synchronous area shall exchange, among themselves and with the DSOs, all necessary information and data relating to distributed generation. The necessary information shall be clearly and transparently defined and agreed with the DSOs.

# Additional provisions to be addressed within the scope of system operation

ENTSO-E shall ensure coherence and compatibility of the grid connection network code(s) with the following provisions, which are dealt with in the Framework Guidelines on System Operation.

- The network code(s) shall define the necessity of load shedding of distributed grid users and the situations when it can occur and be required;

- The consumption unit connected to the transmission network and, where appropriate, to the distribution network shall be equipped with an automatic load shedding system. In case the power system is in danger, System Operators shall be able to use this system under transparent conditions approved by the National Regulation Authority;

- Besides automatically-activated load shedding, there must be a possibility for the TSO and/or DSO to perform manual load shedding if operational security is endangered;

- Actions to be performed during critical operating states upon request by the TSO or DSO to restore the system to normal operating state may be agreed between consumption units and the System Operator responsible.

# Footnotes

Regulation (EC) No 714/2009 of the European Parliament and of the Council of 13 July 2009 on conditions for access to the network for cross-border exchanges in electricity and repealing Regulation (EC) No 1228/2003.

As indicated in Section 2.1.

Real-time information sharing refers to information which is also the subject of the Fundamental Electricity Data Transparency comitology guidelines. The purpose here is different, i.e. the information is primarily used by the System Operators and not by market participants. The network code should take account of information already required as part of the comitology guidelines, and only set out requirements for data information that go over and above this. Moreover, real-time information is also relevant for Framework Guidelines on System Operation and will also be dealt with there.